## Slide 1: Radio Frequency Signal Generator
By: Ethan Cura, Abel Gonzalez, Joseph Hinz and James Taylor
Notes: James

## Slide 2: Purpose
The goal of this project is to supplement the existing market with a low-cost RF signal generator for students and enthusiasts.
Notes: James

## Slide 3: Technical Summary
The signal generator shall have a frequency range between 1 and 500MHz with 1Hz precision.
The signal generator shall be able to frequency and amplitude modulate this carrier frequency.
The signal generator shall minimize any spurious signals for a spectrally pure output.
Notes: Abel

## Slide 4: System Overview
Subsystem 1: Ethan Cura
Subsystem 2: Abel Gonzalez
Subsystem 3: Joseph Hinz
Subsystem 4: James Taylor
Notes: Ethan

## Slide 5: Subsystem 1: User Interface

## Slide 6: Subsystem 1: Deliverables
Design functional UI that allows users to effectively communicate with the MCU
Design PCB to integrate all UI elements
Allow PCB to integrate with MCU to allow for communication with UI element and eventually other I2C components
Allow for PCB to supply power to UI elements and eventually the other PCB’s within the project
Notes: UI consits of LCC+D screen,rotary encoder,zmcu,power suppl and numpad

## Slide 7: Subsystem 1: Challenges
Learning PCB design principles
Finding the proper parts that satisfy PCB layout specifications

## Slide 8: Subsystem 1: Validation Plan
Validation correct PCB design
Verify that MCU, UI components, and Power supply can be integrated into the PCB
Validate UI components will function as expected when given control signals

## Slide 9: Validation Plan
Notes: UI consits of LCC+D screen,rotary encoder,zmcu,power suppl and numpad

## Slide 10: Subsystem 2: Master Control Unit
Notes: Controls the synthesizer, modulation, filter selection, and appropriate attenuation
Abel

## Slide 11: Subsystem 2: Deliverables
Utilize I2C Communication
User Interface Setup

## Slide 12: Subsystem 2: Challenges
Learning Code Composer Studio
Linkage Errors

## Slide 13: Subsystem 2: Validation Results
Debugging MCP23008
  I2C Expander
  Smoother Integration for other Subsystems
Finalizing Rotary Encoder User Interface
Notes: Include screenshots

## Slide 14: Subsystem 2: Screenshots

## Slide 15: Subsystem 3: Synthesizer and Modulation
Notes: Joe

## Slide 16: Subsystem 3: Deliverables
Output square wave between 1 and 500MHz
Output will have 1Hz precision
Output will be controlled by I2C communication from an MCU
Output can be modulated using FSK and ASK.

## Slide 17: Subsystem 3: Challenges
Accounting for frequency dependence on all components on the signal path.
Many components for high frequencies are very small and hard to solder.
Ordering PCB's takes time and close attention to detail.

## Slide 18: Subsystem 3: Picture

## Slide 19: Subsystem 3: Validation Results – Frequency Range

## Slide 20: Subsystem 3: Validation Results – Frequency Range

## Slide 21: Subsystem 3: Validation Results – Frequency Range

## Slide 22: Subsystem 3: Validation Results - Precision
Synthesizer set to "10MHz"
Synthesizer set to "10.000001MHz"
Calibrated at 10MHz. Precision does not hold without proper calibration.

## Slide 23: Subsystem 3: Validation Results - Precision

## Slide 24: Subsystem 3: Validation Results - FM

## Slide 25: Subsystem 3: Validation Results - AM

## Slide 26: Subsystem 4: Broadband Amplifier/Filter Array/Step Attenuator
Amplifier increases the power of the carrier/modulated signal
Filters remove unwanted harmonics from square wave signal to produce a sinusoidal carrier
Attenuators reduce signal power to the user defined output power
Notes: James

## Slide 27: Subsystem 4: Deliverables
1 PCB with amplifier
3 PCBs containing a total of 9 Chebyshev filters
1 PCB with attenuation range from 1-100dB
Notes: James

## Slide 28: Subsystem 4: Challenges
Accounting for frequency response in components
Learning curve for PCB design
Notes: James

## Slide 29: Subsystem 4: Validation
Amplifier and filter PCBs are being fabricated
Finalizing layout for attenuator PCB
Notes: James

## Slide 30: Subsystem 4: Amplifier 3D Model
3D Model generated in KiCad
Notes: James

## Slide 31: Subsystem 4: Filter 3D Models
3D Models generated in KiCad
Notes: James

## Slide 32: Subsystem 4: Validation
3D Model generated in KiCad
Notes: James

## Slide 33: Execution and Validation

## Slide 34: ECEN 404 Goals
Subsystem 1:
  Integration with MCU
  Case design to integrate all subsystems into 1 package
Subsystem 2:
  Integrating other Subsystems
  Frequency dependent calibration of output frequency and power
Subsystem 3:
  Fix design errors/inadequacies found in original PCB design.
  Add analog FM and ASK with greater than 2 states.
Subsystem 4:
  Finish attenuator board
  Fix errors discovered in testing for amplifier and filter boards

## Slide 35: Questions

## Slide 36
Thank You